GRIDx SMART METERING PLATFORM

_______________________________________________

Training Manual

Administrator, Operator & Installer Guide

Pulsar Electronic / MTC Partnership

Prepared for NamPower Tender

March 2026 | Version 2.0

# Training Program Overview

This manual covers three distinct training tracks designed for different user roles within the GRIDx Smart Metering Platform. Each track includes structured modules with hands-on exercises.

| Track | Target Audience | Duration | Modules |
| --- | --- | --- | --- |
| Administrator | System admins, IT managers, finance officers | 2 days (16 hours) | 8 modules |
| Operator / Vending | POS operators, customer service, field supervisors | 1 day (8 hours) | 6 modules |
| Installer / Technician | Field technicians, meter installers, maintenance crew | 1 day (8 hours) | 5 modules |

Prerequisites: Basic computer literacy, internet browser experience

Platform Access: Training accounts provided by system administrator

Materials: This manual, access to GRIDx training environment

TRACK 1: ADMINISTRATOR TRAINING

_______________________________________________

# Module 1.1: Platform Login & Navigation

## Logging In

Step 1: Open your web browser and navigate to the GRIDx platform URL.

Step 2: Enter your Email address and Password.

Step 3: Click Sign In. If 2FA is enabled, enter the verification code from your authenticator app.

Step 4: You will be directed to the Map view (default landing page).

## Navigation Overview

The platform uses a sidebar navigation menu with the following sections:

- Map: Interactive map showing all meter locations with status indicators

- Vending: Token sales, customer management, transaction history

- Engineering: Meter telemetry, power data, cellular network info

- Finance: Revenue reports, area analysis, time period comparisons

- System: Load control, notifications, installers, settings

- Admin: User management, system configuration, audit logs

The sidebar can be collapsed for more screen space. Click the menu icon (hamburger) in the top-left corner.

# Module 1.2: User Management

## Creating Admin Users

Step 1: Navigate to Admin > Users in the sidebar.

Step 2: Click the Add User button.

Step 3: Fill in: Name, Surname, Email, Phone Number, and set the role.

Step 4: Set a temporary password. The user should change it on first login.

Step 5: Click Create. The user will appear in the admin list.

## Managing User Accounts

- Activate/Deactivate: Toggle user status without deleting the account

- Reset Password: Force a password reset for any admin user

- Unlock Account: If an account is locked due to failed login attempts (5 max)

- Delete User: Permanently remove an admin user

## Two-Factor Authentication (2FA)

Step 1: Each user can enable 2FA from their profile settings.

Step 2: Scan the QR code with an authenticator app (Google Authenticator, Authy).

Step 3: Enter the 6-digit code to verify setup.

Step 4: 2FA will be required on every subsequent login.

# Module 1.3: Tariff & Billing Configuration

## Global Tariff Settings

Step 1: Navigate to Vending section in the sidebar.

Step 2: Click the Tariff Configuration tab.

Step 3: Configure the global settings:

- VAT Rate (default: 15%)

- Fixed Service Charge (flat fee per transaction)

- REL Levy (Regulatory Electricity Levy)

- Arrears Deduction Percentage (for postpaid arrears recovery)

Step 4: Click Save Configuration.

## Tariff Groups

Tariff groups define different rate structures for customer categories:

- Residential: Standard household rates

- Commercial: Business/industrial rates

- Prepaid: Prepaid-specific rates with blocks

- Custom: Create custom groups for special tariffs

## Tiered Rate Blocks

Each tariff group supports tiered (block) pricing:

- Block 1: 0-100 kWh at Rate A (e.g., N$1.50/kWh)

- Block 2: 101-300 kWh at Rate B (e.g., N$1.80/kWh)

- Block 3: 301+ kWh at Rate C (e.g., N$2.20/kWh)

The system automatically calculates kWh based on the applicable tiered rates.

# Module 1.4: Financial Reports & Analytics

## Accessing Reports

Step 1: Click Finance in the sidebar navigation.

Step 2: The dashboard shows: Daily Revenue, Monthly Comparison, Weekly Trends.

## Available Financial Reports

- Revenue by Time Period: Select custom date ranges for revenue analysis

- Monthly Year-over-Year: Compare current year vs previous year by month

- Weekly Comparison: Current week vs last week daily breakdown

- Hourly Revenue: Revenue distribution across hours (identify peak times)

- Revenue by Area: Geographic breakdown of revenue by suburb/area

- Vendor Performance: Revenue and commission per vendor

## Exporting Reports

All reports can be exported in PDF, CSV, or Excel format using the Export button in the top-right corner of each report view.

# Module 1.5: Notification Management

## Notification Types

| Type | Description | Priority |
| --- | --- | --- |
| Low Credit | Customer credit below threshold | Warning |
| Tamper Alert | Physical or software tamper detected | Critical |
| Power Outage | Meter reporting no power | Emergency |
| Over-voltage | Voltage exceeds safe threshold | Critical |
| Under-voltage | Voltage below minimum threshold | Warning |
| Communication Loss | Meter not reporting for configured period | Warning |
| Temperature | Meter temperature exceeds threshold | Critical |

## Configuring Alert Thresholds

Step 1: Navigate to Settings > System Settings.

Step 2: Set thresholds for Voltage, Current, Power, Temperature, and other parameters.

Step 3: Each threshold triggers automatic notifications when exceeded.

# Module 1.6: Load Control & Demand Management

## Creating Load Control Groups

Step 1: Navigate to System > Load Control.

Step 2: Click Create Group and provide a group name and description.

Step 3: Add meters to the group (search by DRN, area, or transformer).

## Executing Load Commands

Step 1: Select a load control group.

Step 2: Choose the command: Disconnect or Reconnect.

Step 3: Confirm the action. The system sends MQTT commands to all meters in the group.

Step 4: Monitor execution progress in the History tab.

## Load Shedding Randomization

For fair load shedding, use the Randomize feature to select a percentage of meters from a group for disconnection. This ensures equitable rotation of load shedding across customers.

# Module 1.7: Tamper Detection & Revenue Protection

## Physical Tamper Events

GRIDx meters detect physical tampering including: terminal cover open, meter tilt/movement, magnetic field interference, and wiring changes. Events are reported in real-time via MQTT.

## Software-Based Detection

The analytics engine identifies suspected tamper through consumption pattern anomalies:

- Confirmed Tamper: Meters with 3+ physical tamper events

- Suspected Tamper: Anomalous consumption patterns (sudden drops, flat-line usage)

## Investigating Tamper Alerts

Step 1: Navigate to Tamper Detection in the sidebar.

Step 2: Review the Summary dashboard for counts and trends.

Step 3: Click on Physical Tamper or Software Detection tabs for details.

Step 4: Click on a specific meter to view its full tamper history.

Step 5: Create a field investigation work order if needed.

# Module 1.8: Partner Integration Management

## Managing Integration Partners

Step 1: Navigate to Integrations in the sidebar.

Step 2: View registered partners with their API keys and status.

Step 3: Register new partners with name, contact, callback URL, and IP whitelist.

## API Key Management

- Each partner receives a sandbox key and production key

- Keys can be regenerated (rotated) from the partner management screen

- Set rate limits per partner (requests/minute and requests/day)

- Monitor API usage, error rates, and response times per partner

## Webhook Configuration

Partners can subscribe to webhook events (token.purchased, meter.offline, etc.). Configure webhook URLs and secrets from the partner detail screen.

TRACK 2: OPERATOR / VENDING TRAINING

_______________________________________________

# Module 2.1: Selling Electricity Tokens

## Standard Token Vending

Step 1: Navigate to the Vending section.

Step 2: Enter the customer's meter number (DRN) in the search field.

Step 3: Verify the customer name and meter details displayed.

Step 4: Enter the purchase amount in NAD (Namibian Dollars).

Step 5: Click Vend Token.

Step 6: The system calculates: VAT, Fixed Charge, REL Levy, Arrears (if any), net energy, and kWh.

Step 7: A 20-digit STS token is generated and displayed.

Step 8: Provide the token to the customer (print receipt or read aloud).

## Understanding the Token Receipt

- Token: 20-digit number (formatted as 1234 5678 9012 3456 7890)

- Amount Paid: Total payment received

- kWh: Electricity units purchased

- VAT: Value Added Tax charged

- Fixed Charge: Service fee

- REL Levy: Regulatory levy

- Arrears: Any outstanding balance deducted

# Module 2.2: Customer Management

## Looking Up a Customer

Step 1: Navigate to Vending > Customers.

Step 2: Search by meter number, name, or area.

Step 3: Click on a customer to view their full profile, purchase history, and current balance.

## Registering a New Customer

Step 1: Click Add Customer in the Customers section.

Step 2: Fill in: Meter Number (DRN), First Name, Last Name, ID Number, Phone, Address, Area, Tariff Group.

Step 3: Click Save. The customer is now registered and can purchase tokens.

## Non-GRIDx Customers

For customers with meters not part of the GRIDx network, use the Non-GRIDx Customers section. These customers can still purchase tokens through external vending channels. CSV import is available for bulk registration.

# Module 2.3: Transaction Management

## Viewing Transaction History

Step 1: Navigate to Vending > Transactions.

Step 2: Use filters: Date range, Meter number, Vendor, Status.

Step 3: Click on any transaction to view full details including breakdown.

## Reprinting a Token

Step 1: Find the transaction in the Transaction History.

Step 2: Click the Reprint button.

Step 3: The original token is displayed again for reprinting.

## Reversing a Transaction

Transaction reversals must be performed by an administrator. Contact your supervisor if a reversal is needed. Reversals void the issued token and credit back the customer's arrears (if deducted).

# Module 2.4: Map & Meter Overview

## Using the Interactive Map

Step 1: The Map page shows all meters as markers on Google Maps.

Step 2: Green markers = Online, Red markers = Offline.

Step 3: Click on a marker to view meter summary (DRN, customer, last update, power).

Step 4: Click View Details to open the full Meter Profile page.

## Meter Profile Page

The Meter Profile page shows comprehensive data for a single meter:

- Power: Real-time voltage, current, power factor, active/reactive power

- Energy: kWh consumed, credit remaining, daily usage charts

- Load Control: Current relay state (connected/disconnected)

- Cellular: Signal strength, operator, SIM info

- Location: GPS coordinates on map

- Token History: All STS tokens issued to this meter

- Notifications: Alert history for this meter

# Module 2.5: Handling Common Scenarios

## Scenario: Customer Says Token Does Not Work

Step 1: Verify the meter number matches the token (check transaction history).

Step 2: Ask the customer to re-enter the token carefully (20 digits).

Step 3: Check if the meter is online (Map page).

Step 4: If still failing, escalate to engineering for meter investigation.

## Scenario: Customer Wants to Check Balance

Step 1: Look up the customer by meter number.

Step 2: Check the Energy tab for current credit/kWh remaining.

Step 3: Note: Balance updates depend on meter communication. Last update timestamp is shown.

## Scenario: Meter Appears Offline

Step 1: Check the Map page for meter status.

Step 2: Check Cellular tab for last signal report.

Step 3: Tokens can still be purchased even if meter is offline (token is entered manually).

Step 4: Escalate persistent offline issues to the technical team.

# Module 2.6: Daily Operations Checklist

| Task | Frequency | How To |
| --- | --- | --- |
| Check vending system status | Start of shift | Navigate to Vending, verify dashboard loads |
| Review overnight transactions | Morning | Check Transactions tab for overnight activity |
| Verify cash reconciliation | End of shift | Compare total vended amount with cash received |
| Check critical notifications | Periodic | Review Notifications for any urgent alerts |
| Report system issues | As needed | Contact supervisor or log ticket in support portal |

TRACK 3: INSTALLER / TECHNICIAN TRAINING

_______________________________________________

# Module 3.1: Meter Registration & Commissioning

## Pre-Installation Checklist

- Verify meter DRN matches the work order

- Confirm SIM card is installed and activated

- Check GPS antenna connection

- Verify transformer DRN for the installation location

- Confirm customer details (name, address, tariff group)

## Registering a New Meter

Step 1: Navigate to Meter Registration (or use the mobile commissioning form).

Step 2: Enter meter DRN, SIM number, and transformer DRN.

Step 3: Fill in customer details: Name, Surname, ID, Phone, Address, City, Region.

Step 4: Select tariff type.

Step 5: Submit registration. The meter appears in the system.

Step 6: Verify the meter comes online within 5 minutes (check Map page).

# Module 3.2: Verifying Meter Communication

## Checking Online Status

Step 1: After installation, check the Map page for the new meter marker.

Step 2: A green marker indicates the meter is communicating.

Step 3: Click the marker to verify real-time data is flowing.

## Troubleshooting Communication Issues

| Symptom | Check | Action |
| --- | --- | --- |
| Meter not appearing on map | SIM activation status | Contact MTC to verify SIM is active |
| Meter offline (red marker) | Cellular signal strength | Reposition antenna or check SIM |
| Data not updating | MQTT connection | Power cycle the meter, wait 2 minutes |
| Intermittent connection | Signal quality indicator | Check antenna cable, consider external antenna |

## Cellular Network Verification

Step 1: Open the Meter Profile for the installed meter.

Step 2: Check the Cellular tab for: Signal Strength (RSSI), Network Operator, SIM Status.

Step 3: Acceptable signal: RSSI > -85 dBm (good), -85 to -100 dBm (fair), < -100 dBm (poor).

# Module 3.3: Meter Profile Configuration

## Setting Billing Mode

Each meter can be configured for prepaid or postpaid billing:

Step 1: Open the Meter Profile page for the target meter.

Step 2: Navigate to the billing configuration section.

Step 3: Select Prepaid or Postpaid mode.

Step 4: For prepaid: Configure tariff index and rate blocks.

Step 5: Apply the configuration. The meter receives the update via MQTT.

## Tariff Rate Configuration

After setting billing mode, configure the tariff rates on the meter:

Step 1: Select the tariff group (Residential, Commercial, Custom).

Step 2: The system pushes the tiered rate blocks to the meter.

Step 3: Verify the meter has received the rates (check the Tariff Rates tab).

## Commission Report

After installation and configuration, generate a Commissioning Report:

- Captures meter DRN, location, customer, installer, installation photos

- Records initial readings, communication status, and configuration

- Serves as proof of successful installation for project tracking

# Module 3.4: Load Control Testing

## Testing Disconnect/Reconnect

Step 1: Open the Meter Profile for the meter under test.

Step 2: Navigate to Load Control section.

Step 3: Send a Disconnect command.

Step 4: Verify the meter relay opens (power to customer is disconnected).

Step 5: Send a Reconnect command.

Step 6: Verify the meter relay closes (power restored).

Step 7: Check the Load Control History for command timestamps and status.

Note: Load control commands are sent via MQTT. Typical response time is 5-15 seconds depending on cellular conditions.

# Module 3.5: Troubleshooting Guide

| Issue | Possible Cause | Resolution |
| --- | --- | --- |
| Meter not powering on | Wiring error or supply issue | Verify mains connection, check breaker |
| No SIM registration | SIM not activated or wrong APN | Contact MTC, verify APN settings |
| Token rejected by meter | Wrong meter number or token format | Verify DRN, check token is 20 digits |
| Meter showing incorrect readings | CT ratio misconfigured | Reconfigure CT ratio via MQTT command |
| Over-voltage alarm | Supply voltage too high | Check transformer tap settings |
| Tamper alarm on new install | Cover not properly seated | Reseat terminal cover, verify seal |
| GPS location incorrect | GPS antenna obstructed | Relocate antenna, wait for fix |
| Relay not responding | Communication issue or relay fault | Check MQTT status, escalate if hardware |

--- End of Training Manual ---